## Detailed
Virchow Laboratories Ltd-PO NO-4500085929,DT-11-04-2025 |  |  | AS PER PO
S.No | Package | Description of Items | Qty | Units | Rate / Unit | Amount
AR&D Lab Furniture & Accessories
1 | AR&D LF | HPLC ROOM
1.1 | AR&D LF | Sitting Height Work Bench | 1 | No's. | 123356 | 123356
| AR&D LF | * 7544 x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 5 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 3 No's.
| AR&D LF | * 600 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 12 No's.
| AR&D LF | * Data Points - 4 No's
1.2 | AR&D LF | Sitting Height Island Work Bench | 2 | No's. | 203049 | 406098
| AR&D LF | * 5900 x 1800 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900mm - 8 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 6 No's.
| AR&D LF | * Island Middle Frame
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Raceway
| AR&D LF | * Islandbench End Close Panel
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 18 No's.
| AR&D LF | * Data Points - 6 No's
1.3 | AR&D LF | Sitting Height Work Bench | 1 | No's. | 97708 | 97708
| AR&D LF | * 5900 x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 4 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 3 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 9 No's.
| AR&D LF | * Data Points - 3 No's
2 | AR&D LF | HPLC PREP
2.1 | AR&D LF | Standing Height Anti-Vibration Table with Enclosure | 2 | No's. | 46900 | 93800
| AR&D LF | * 900mm W x 750 mm D x 900mm H
| AR&D LF | * GI with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
2.2 | AR&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 100607 | 100607
| AR&D LF | * 5150 x 900 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Granite Skirting
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 3 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 2 No's.
| AR&D LF | * Standing Height Sink Module 900mm - 1 No's.
| AR&D LF | * PP Sink - 1 No's
| AR&D LF | * 3 Way Water Faucet with Necessary Hardware
| AR&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| AR&D LF | * Dual Eye Washer with Pipe
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 7 No's.
| AR&D LF | * Data Points - 2 No's
2.3 | AR&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 14375 | 28750
3 | AR&D LF | GC
3.1 | AR&D LF | " L " Shape Sitting Height Work Bench | 1 | No's. | 138244 | 138244
| AR&D LF | * ( 6350+2630 ) x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 5 No's.
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 450 mm - 1 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 3 No's.
| AR&D LF | * 700 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * H-Frame Support 750 mm - 1 No's
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
| AR&D LF | * Data Points - 4 No's
3.2 | AR&D LF | Sitting Height Work Bench | 1 | No's. | 81229 | 81229
| AR&D LF | * 4700 x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 3 No's.
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 450 mm - 1 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 2 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 4 No's.
| AR&D LF | * Data Points - 2 No's
3.3 | AR&D LF | Spot Extractor with Ceiling Mount Bracket | 6 | No's. | 14375 | 86250
4 | AR&D LF | GC PREP
4.1 | AR&D LF | Standing Height Anti-Vibration Table with Enclosure | 1 | No's. | 46900 | 46900
| AR&D LF | * 900mm W x 750 mm D x 900mm H
| AR&D LF | * GI with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
4.2 | AR&D LF | 5' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 1 | No's. | 181814 | 181814
| AR&D LF | * 1500 x 950 x 2300mm (W D H)
| AR&D LF | * MOC GPSP with Powder Coating
| AR&D LF | * Phenolic Resin lined Interiors
| AR&D LF | * 6mm Tampered Safety Glass for Sash
| AR&D LF | * PP Lined Base Cabinets - 2 Nos
| AR&D LF | * Light Fixture
| AR&D LF | * Dished Granite Work Top 18mm with finishing
| AR&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| AR&D LF | * Remote Control Valves - 4 No's.
| AR&D LF | * PP Cup Sink - 1 No
| AR&D LF | * Bottle Trap - 1 No
| AR&D LF | * Fume Hood Furring panel
| AR&D LF | * Filler Panels
| AR&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| AR&D LF | * Pure Epoxy Scaffolding for 5' Hood
| AR&D LF | * EMERGENCY STOP BUTTON
| AR&D LF | * PVC Skirting
4.3 | AR&D LF | " L " Shape Sitting Height Work Bench | 1 | No's. | 88726 | 88726
| AR&D LF | * ( 4253+750 ) x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 600 mm - 1 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * 700 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * H-Frame Support 750 mm - 1 No's
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Gable Leg
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 4 No's.
| AR&D LF | * Data Points - 2 No's
5 | AR&D LF | GCMS
5.1 | AR&D LF | Sitting Height Work Bench | 1 | No's. | 53039 | 53039
| AR&D LF | * 2450 x 900 x 750 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| AR&D LF | * 600 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Finished Back Panel
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 2 No's.
| AR&D LF | * Data Points - 1 No's
5.2 | AR&D LF | Spot Extractor with Ceiling Mount Bracket | 1 | No's. | 14375 | 14375
6 | AR&D LF | CHEMICAL STORE
6.1 | AR&D LF | Solvent Storage Cabinet | 3 | No's. | 53000 | 159000
| AR&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
6.2 | AR&D LF | Chemical Storage Cabinet | 4 | No's. | 38500 | 154000
| AR&D LF | * Size : 900 mm W X 500 mm D X 2100 mm H
7 | AR&D LF | DOCUMENTATION & DOCUMENT STORE
7.1 | AR&D LF | Vertical Storage Cabinet | 9 | No's. | 21500 | 193500
| AR&D LF | * 900mm W x 500mm D x 2100mm H
| AR&D LF | * GI with Powder Coating
| AR&D LF | * Adjustable Metal Shelves
8 | AR&D LF | GLASSWARE STORE
8.1 | AR&D LF | Vertical Storage Cabinet | 12 | No's. | 19500 | 234000
| AR&D LF | * 750mm W x 500mm D x 2100mm H
| AR&D LF | * GI with Powder Coating
| AR&D LF | * Adjustable Metal Shelves
9 | AR&D LF | LCMS
9.1 | AR&D LF | " L " Shape Sitting Height Frame Table | 1 | No's. | 137363 | 137363
| AR&D LF | * ( 4302+3153 ) X 1050 X 750 MM ( W D H )
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * H-Frame Structure 7455 mm - 1 No's
| AR&D LF | * 600 mm wide Storage Module with One Drawer Two Shutter on Castor Cabinet - 4 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 12 No's.
| AR&D LF | * Data Points - 6 No's
10 | AR&D LF | IR ROOM 1
10.1 | AR&D LF | Standing Height Anti-Vibration Table with Enclosure | 1 | No's. | 46900 | 46900
| AR&D LF | * 900mm W x 750 mm D x 900mm H
| AR&D LF | * GI with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
11 | AR&D LF | ROOM 3
11.1 | AR&D LF | " L " Shape Standing Height Work Bench | 1 | No's. | 84864 | 84864
| AR&D LF | * ( 2375+1180+1551 ) x 750 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 1 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 750 mm - 2 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * 600 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Standing Height Under Bench Corner Cabinet - 1 No.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 7 No's.
| AR&D LF | * Data Points - 2 No's
12 | AR&D LF | MALVERN/PSD ROOM-4
12.1 | AR&D LF | " L " Shape Standing Height Work Bench | 1 | No's. | 83964 | 83964
| AR&D LF | * ( 2375+1180+1551 ) x 750 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 1 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 750 mm - 2 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * 600 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Standing Height Under Bench Corner Cabinet - 1 No.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 6 No's.
| AR&D LF | * Data Points - 2 No's
13 | AR&D LF | HOT ROOM
13.1 | AR&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 2 | No's. | 191317 | 382634
| AR&D LF | * 1800 x 950 x 2300mm (W D H)
| AR&D LF | * MOC GPSP with Powder Coating
| AR&D LF | * Phenolic Resin lined Interiors
| AR&D LF | * 6mm Tampered Safety Glass for Sash
| AR&D LF | * PP Lined Base Cabinets - 2 Nos
| AR&D LF | * Light Fixture
| AR&D LF | * Dished Granite Work Top 18mm with finishing
| AR&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| AR&D LF | * Remote Control Valves - 4 No's.
| AR&D LF | * PP Cup Sink - 1 No
| AR&D LF | * Bottle Trap - 1 No
| AR&D LF | * Fume Hood Furring panel
| AR&D LF | * Filler Panels
| AR&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| AR&D LF | * EMERGENCY STOP BUTTON
| AR&D LF | * Pure Epoxy Scaffolding for 6' Hood
| AR&D LF | * PVC Skirting
13.2 | AR&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 61661 | 61661
| AR&D LF | * 3406 x 750 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Granite Skirting
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Standing Height Sink Module 750mm - 1 No's.
| AR&D LF | * PP Sink - 1 No's
| AR&D LF | * One Way Water Faucet with Necessary Hardware
| AR&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| AR&D LF | * Dual Eye Washer with Pipe
| AR&D LF | * Peg Board
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
14 | AR&D LF | WET CHEMISTRY
14.1 | AR&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 1 | No's. | 191317 | 191317
| AR&D LF | * 1800 x 950 x 2300mm (W D H)
| AR&D LF | * MOC GPSP with Powder Coating
| AR&D LF | * Phenolic Resin lined Interiors
| AR&D LF | * 6mm Tampered Safety Glass for Sash
| AR&D LF | * PP Lined Base Cabinets - 2 Nos
| AR&D LF | * Light Fixture
| AR&D LF | * Dished Granite Work Top 18mm with finishing
| AR&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| AR&D LF | * Remote Control Valves - 4 No's.
| AR&D LF | * PP Cup Sink - 1 No
| AR&D LF | * Bottle Trap - 1 No
| AR&D LF | * Fume Hood Furring panel
| AR&D LF | * Filler Panels
| AR&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| AR&D LF | * EMERGENCY STOP BUTTON
| AR&D LF | * Pure Epoxy Scaffolding for 6' Hood
| AR&D LF | * PVC Skirting
14.2 | AR&D LF | " L " Shape Standing Height Work Bench with Sink Unit | 1 | No's. | 101430 | 101430
| AR&D LF | * ( 2725+1180+1000 ) x 900 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Granite Skirting
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 1 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 500 mm - 2 No's.
| AR&D LF | * Standing Height Under Bench Corner Cabinet - 1 No.
| AR&D LF | * 900 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Standing Height Sink Module 900mm - 1 No's.
| AR&D LF | * PP Sink - 1 No's
| AR&D LF | * One Way Water Faucet with Necessary Hardware
| AR&D LF | * Peg Board
| AR&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| AR&D LF | * Dual Eye Washer with Pipe
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 5 No's.
14.3 | AR&D LF | " U " Shape Standing Height Work Bench | 1 | No's. | 209925 | 209925
| AR&D LF | * ( 4375+1180+1000+4700 ) x 900 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 4 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 750 mm - 2 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 500 mm - 2 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 450 mm - 2 No's.
| AR&D LF | * Standing Height Under Bench Corner Cabinet - 1 No.
| AR&D LF | * 750 mm Leg Space with openable panel - 4 No's.
| AR&D LF | * H-Frame Supports 900 mm - 1 No's
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Finished Back Panel
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 12 No's.
15 | AR&D LF | FREEZERS/HOT EQUIPMENT ROOM
15.1 | AR&D LF | Standing Height Work Bench | 1 | No's. | 49356 | 49356
| AR&D LF | * 2606 x 900 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 3 No's.
16 | AR&D LF | STABILITY
16.1 | AR&D LF | Standing Height Work Bench | 1 | No's. | 27723 | 27723
| AR&D LF | * 1370 x 750x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 450 mm - 1 No's.
| AR&D LF | * 800 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Gable Leg
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
| AR&D LF | * Data Points - 1 No's
17 | AR&D LF | NMR
17.1 | AR&D LF | Standing Height Work Bench | 1 | No's. | 41532 | 41532
| AR&D LF | * 2230 x 750x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 1 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 450 mm - 1 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 2 No's.
18 | AR&D LF | GENERAL STORE
18.1 | AR&D LF | Open Racks | 17 | No's. | 8200 | 139400
| AR&D LF | * 900 W x 500mm D x 2100mm H
| AR&D LF | * GI with Powder Coated
| AR&D LF | * Adjustable Metal Shelves
19 | AR&D LF | WASHING ROOM
19.1 | AR&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 127131 | 127131
| AR&D LF | * 4842 x 750 x 900 mm (W D H)
| AR&D LF | * GPSP with Powder Coating
| AR&D LF | * Black Granite Worktop
| AR&D LF | * Granite Skirting
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| AR&D LF | * Standing Height Under Bench Cabinets Door + Drawer 450 mm - 1 No's.
| AR&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| AR&D LF | * Canopy Hood :-SIZE:- 900 MML X 750 MM D X 350 MMH
| AR&D LF | * Standing Height Sink Module 900mm - 2 No's.
| AR&D LF | * PP Sink - 2 No's
| AR&D LF | * One Way Water Faucet with Necessary Hardware
| AR&D LF | * Peg Board
| AR&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| AR&D LF | * Service Drop - 1 No's
| AR&D LF | * Electrical Race Way
| AR&D LF | * Back Granite Supports
| AR&D LF | * Filler Panels
| AR&D LF | * PVC Skirting
| AR&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 3 No's.
R&D Lab Furniture & Accessories
1 | R&D LF | CHEMICAL STORE
1.1 | R&D LF | Chemical Storage Cabinet with Exhaust | 12 | No's. | 40426 | 485112
| R&D LF | * Size : 900 mm W X 500 mm D X 2100 mm H
2 | R&D LF | SOLVENT
2.1 | R&D LF | Solvent Storage Cabinets | 6 | No's. | 55650 | 333900
| R&D LF | * Size: 1000 mm W X 500 mm D X 2100 mm H
3 | R&D LF | GLASSWARE STORE
3.1 | R&D LF | Vertical Storage Cabinet | 6 | No's. | 22576 | 135456
| R&D LF | * 900mm W x 500mm D x 2100mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Adjustable Metal Shelves
3.2 | R&D LF | Vertical Storage Cabinet | 4 | No's. | 20476 | 81904
| R&D LF | * 750mm W x 500mm D x 2100mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Adjustable Metal Shelves
4 | R&D LF | WASH AREA
4.1 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 100033 | 100033
| R&D LF | * 3701 x 750 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 450 mm - 2 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Standing Height Sink Module 900mm - 2 No's.
| R&D LF | * PP Sink - 2 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 2 No's.
5 | R&D LF | DOCUMENTATION & DOCUMENT STORE
5.1 | R&D LF | Vertical Storage Cabinet | 16 | No's. | 22576 | 361216
| R&D LF | * 900mm W x 500mm D x 2100mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Adjustable Metal Shelves
5.2 | R&D LF | Sitting Height Work Bench | 1 | No's. | 47786 | 47786
| R&D LF | * 2450 x 750 x 750 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Sitting Height Under Bench Cabinets Door + Drawer 450 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 2 No's.
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 4 No's.
| R&D LF | * Data Points - 4 No's
6 | R&D LF | GENERAL STORE
6.1 | R&D LF | Open Racks | 9 | No's. | 8610 | 77490
| R&D LF | * 900 W x 500mm D x 2100mm H
| R&D LF | * GI with Powder Coated
| R&D LF | * Adjustable Metal Shelves
7 | R&D LF | LAB-01
7.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
7.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
7.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
7.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
7.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
7.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
7.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
7.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
8 | R&D LF | LAB-02
8.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
8.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
8.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
8.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
8.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
8.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
8.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
8.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
9 | R&D LF | LAB-03
9.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
9.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
9.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
9.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
9.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
9.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
9.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
9.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
10 | R&D LF | LAB-04
10.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
10.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
10.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
10.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
10.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
10.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
10.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
10.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
11 | R&D LF | LAB-05
11.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
11.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
11.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
11.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
11.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
11.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
11.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
11.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
12 | R&D LF | LAB-06
12.1 | R&D LF | Standing Height Anti-Vibration Table | 1 | No's. | 24570 | 24570
| R&D LF | * 900mm W x 750 mm D x 900mm H
| R&D LF | * GI with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 1 No's.
12.2 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
12.3 | R&D LF | 6' Bench Top Fume Hood With Horizontal & Vertical Sliding Sash | 4 | No's. | 202577 | 810308
| R&D LF | * 1800 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * PP Lined Base Cabinets - 2 Nos
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
12.4 | R&D LF | Standing Height Work Bench | 1 | No's. | 60744 | 60744
| R&D LF | * 2575 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
12.5 | R&D LF | Standing Height Work Bench | 1 | No's. | 61245 | 61245
| R&D LF | * 2641 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900 mm - 2 No's.
| R&D LF | * 750 mm Leg Space with openable panel - 1 No's.
| R&D LF | * Single Sided 2 Tier Reagent Rack with 200mm Depth
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Race Way
| R&D LF | * Back Granite Supports
| R&D LF | * Filler Panels
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets -4 No's.
12.6 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 188805 | 188805
| R&D LF | * 4550 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 5 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
12.7 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 32038 | 32038
| R&D LF | * 941 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
12.8 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
13 | R&D LF | KILO LAB-01
13.1 | R&D LF | 8' Walk In Fume Hood | 5 | No's. | 223551 | 1117755
| R&D LF | * 2400 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * PVC Skirting
13.2 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 196298 | 196298
| R&D LF | * 4475 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 4 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 2 No's.
| R&D LF | * PP Sink - 2 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
13.3 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 33134 | 33134
| R&D LF | * 1300 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
13.4 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
13.5 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
14 | R&D LF | KILO LAB-01
14.1 | R&D LF | 8' Walk In Fume Hood With Horizontal & Vertical Sliding Sash | 5 | No's. | 234261 | 1171305
| R&D LF | * 2400 x 950 x 2300mm (W D H)
| R&D LF | * MOC GPSP with Powder Coating
| R&D LF | * Phenolic Resin lined Interiors
| R&D LF | * 6mm Tampered Safety Glass for Sash
| R&D LF | * Light Fixture
| R&D LF | * Dished Granite Work Top 18mm with finishing
| R&D LF | * 3 Modular Cover frame with 6/16 A Switch & Sockets - 6 nos
| R&D LF | * Remote Control Valves - 4 No's.
| R&D LF | * PP Cup Sink - 1 No
| R&D LF | * Bottle Trap - 1 No
| R&D LF | * Fume Hood Furring panel
| R&D LF | * ABC Type fire extinguisher of 2 Kg with mounting bracket to be fixed inside the fume hood.
| R&D LF | * EMERGENCY STOP BUTTON
| R&D LF | * Pure Epoxy Scaffolding for 6' Hood
| R&D LF | * PVC Skirting
14.2 | R&D LF | Standing Height Island Work Bench with Sink Unit | 1 | No's. | 196298 | 196298
| R&D LF | * 4475 x 1500 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Under Bench Cabinets Door + Drawer 900mm - 4 No's.
| R&D LF | * 900 mm Leg Space with openable panel - 4 No's.
| R&D LF | * Standing Height Sink Module 900mm - 2 No's.
| R&D LF | * PP Sink - 2 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Double Sided 2 Tier Reagent Rack with 300mm Depth
| R&D LF | * Island Middle Frame
| R&D LF | * Service Drop - 1 No's
| R&D LF | * Electrical Raceway
| R&D LF | * Islandbench End Close Panel
| R&D LF | * PVC Skirting
| R&D LF | * 2 x 6/16 Amps (6 Module) Switch Sockets - 8 No's.
14.3 | R&D LF | Standing Height Work Bench with Sink Unit | 1 | No's. | 33134 | 33134
| R&D LF | * 1300 x 900 x 900 mm (W D H)
| R&D LF | * GPSP with Powder Coating
| R&D LF | * Black Granite Worktop
| R&D LF | * Granite Skirting
| R&D LF | * Standing Height Sink Module 900mm - 1 No's.
| R&D LF | * PP Sink - 1 No's
| R&D LF | * One Way Water Faucet with Necessary Hardware
| R&D LF | * Peg Board
| R&D LF | * PP Bottle Trap for Drain & Sink Outlet Nipple & PP Hose Pipe with Coupler
| R&D LF | * Dual Eye Wah with Pipe
| R&D LF | * Filler Panels
14.4 | R&D LF | Spot Extractor with Ceiling Mount Bracket | 2 | No's. | 15095 | 30190
14.5 | R&D LF | Solvent Storage Cabinet | 1 | No's. | 55650 | 55650
| R&D LF | * Size: 1092 mm W X 457 mm D X 1651 mm H
AR&D Office Furniture & Accessories
1 | Office Furniture | CABIN TABLE WITH SIDE COMBO STORAGE | 4 | Nos | 28595 | 114380
| Office Furniture | TABLE TOP : 25 MM thk. Prelaminated Particle Board with 2MM PVC Edge band on all side. Table top at 750MM height from floor level. Cut-out provision for Access flap as required.
| Office Furniture | UNDERSTRUCTURE : Designer MS Tapered Leg ( Hock leg ) made up of 50x75MM verticals and Horizontal Connecting member made up of 40x40MM MS pipe finished in Powder coating. Cross members made up of 40x40MM MS Section finished in Powder coating are connected to Legs with Brackets for table support.
| Office Furniture | WIRE MANAGMENT : Powder coated Switch mounting box below table top. Provision of vertical duct to take out cable from floor to box.
| Office Furniture | MODESTY 450 MM HT.: Metal modesty panel with laser-cut embellishments made up of 1.5MM thick CRCA finished in Powder coating
| Office Furniture | ACCESS FLAP 450MM LENGTH : Special Aluminium access flap.
| Office Furniture | SIDE CREDENZA : 2 Drawers & 1 Filling Drawer With 2 Openable Shutter finish in 25 / 18 MM thk. Prelaminated PB Board 2MM PVC Edge band to all Exposed Area & Metal Drawer with Centralized Lock F Finger groove Handles. ( SIZE : 1200 X 450 X 750 MM HT. )
2 | Office Furniture | LINEAR WORKSTATION WITH 60MM MAIN & 28MM RETURN PARTITION | 33 | Nos | 20723 | 683859
| Office Furniture | MAIN PARTITION : 60 MM THK Slide-in Tile Based Partition of 1200mm Ht. with powder coating finish.
| Office Furniture | WIRE MANAGEMENT : One Raceway at Skirting , Second Raceway Optional - Below Table Top.
| Office Furniture | FINISHES ABOVE TABLE TOP : Glass Marker / Magnetic Fabric
| Office Furniture | FINISHES BELOW TABLE TOP : 9 mm Thk. Prelaminated Prelaminated Particle panel
| Office Furniture | RETURN PARTITION : 28 MM THK Panel Based Partition of 1200mm Ht. with powder coating finish.
| Office Furniture | FINISHES ABOVE TABLE TOP : Fabric
| Office Furniture | FINISHES BELOW TABLE TOP : Prelaminated Panels
| Office Furniture | PRIVACY SCREEN 450 MM ht. : 8MM thick Frosted Glass from SOS standard colour range fitted on Special D brackets
| Office Furniture | TABLE TOP : 25 MM thk. Prelaminated Particle Board with 2mm PVC Edge band on all side. Table top at 750mm height from floor level. Cut-out provision for wire manger as required.
| Office Furniture | GABLE END : 25 MM thk. Prelaminated Particle Board with machine pressed PVC Edge band on all side.
| Office Furniture | BRACKET : Corner & Cantilever bracket for worktable support finished in powder coating
| Office Furniture | PVC GROMMET
Office Furniture
3 | Office Furniture | PLPB MOBILE PEDETASAL - 2B + 1 WITH FINGER GROOVE HANDLES | 33 | Nos | 5959 | 196647
| Office Furniture | PEDESTAL : 2 Drawers & 1 Filling Drawer pedestal with Castor finish in 18 MM thk. Prelaminated Particle Board Board 2MM PVC Edge band to all Exposed Area & Metal Drawer with Centralized Lock with inger groove handle.
4 | Office Furniture | Elan high back CHAIR for Cabins | 4 | Nos | 7856 | 31424
| Office Furniture | HIGH BACK CHAIR 1 D PU ARM SYNCRO 1P LOCKING MECHANISM 60MM NY CASTOR 660MM NYLON BASE FABRIC FINISH SEAT MESH BACK
| Office Furniture | R&D Office Furniture & Accessories
1 | Office Furniture | CABIN TABLE WITH SIDE COMBO STORAGE | 8 | Nos | 28595 | 228760
| Office Furniture | TABLE TOP : 25 MM thk. Prelaminated Particle Board with 2MM PVC Edge band on all side. Table top at 750MM height from floor level. Cut-out provision for Access flap as required.
| Office Furniture | UNDERSTRUCTURE : Designer MS Tapered Leg ( Hock leg ) made up of 50x75MM verticals and Horizontal Connecting member made up of 40x40MM MS pipe finished in Powder coating. Cross members made up of 40x40MM MS Section finished in Powder coating are connected to Legs with Brackets for table support.
| Office Furniture | WIRE MANAGMENT : Powder coated Switch mounting box below table top. Provision of vertical duct to take out cable from floor to box.
| Office Furniture | MODESTY 450 MM HT.: Metal modesty panel with laser-cut embellishments made up of 1.5MM thick CRCA finished in Powder coating
| Office Furniture | ACCESS FLAP 450MM LENGTH : Special Aluminium access flap.
| Office Furniture | SIDE CREDENZA : 2 Drawers & 1 Filling Drawer With 2 Openable Shutter finish in 25 / 18 MM thk. Prelaminated PB Board 2MM PVC Edge band to all Exposed Area & Metal Drawer with Centralized Lock F Finger groove Handles. ( SIZE : 1200 X 450 X 750 MM HT. )
2 | Office Furniture | LINEAR WORKSTATION WITH 60MM MAIN & 28MM RETURN PARTITION | 28 | Nos | 20723 | 580244
| Office Furniture | MAIN PARTITION : 60 MM THK Slide-in Tile Based Partition of 1200mm Ht. with powder coating finish.
| Office Furniture | WIRE MANAGEMENT : One Raceway at Skirting , Second Raceway Optional - Below Table Top.
| Office Furniture | FINISHES ABOVE TABLE TOP : Glass Marker / Magnetic Fabric
| Office Furniture | FINISHES BELOW TABLE TOP : 9 mm Thk. Prelaminated Prelaminated Particle panel
| Office Furniture | RETURN PARTITION : 28 MM THK Panel Based Partition of 1200mm Ht. with powder coating finish.
| Office Furniture | FINISHES ABOVE TABLE TOP : Fabric
| Office Furniture | FINISHES BELOW TABLE TOP : Prelaminated Panels
| Office Furniture | PRIVACY SCREEN 450 MM ht. : 8MM thick Frosted Glass from SOS standard colour range fitted on Special D brackets
| Office Furniture | TABLE TOP : 25 MM thk. Prelaminated Particle Board with 2mm PVC Edge band on all side. Table top at 750mm height from floor level. Cut-out provision for wire manger as required.
| Office Furniture | GABLE END : 25 MM thk. Prelaminated Particle Board with machine pressed PVC Edge band on all side.
| Office Furniture | BRACKET : Corner & Cantilever bracket for worktable support finished in powder coating
| Office Furniture | PVC GROMMET
3 | Office Furniture | PLPB MOBILE PEDETASAL - 2B + 1 WITH FINGER GROOVE HANDLES | 28 | Nos | 5959 | 166852
| Office Furniture | PEDESTAL : 2 Drawers & 1 Filling Drawer pedestal with Castor finish in 18 MM thk. Prelaminated Particle Board Board 2MM PVC Edge band to all Exposed Area & Metal Drawer with Centralized Lock with inger groove handle.
4 | Office Furniture | Elan high back CHAIR for Cabins | 8 | Nos | 7856 | 62848
| Office Furniture | HIGH BACK CHAIR 1 D PU ARM SYNCRO 1P LOCKING MECHANISM 60MM NY CASTOR 660MM NYLON BASE FABRIC FINISH SEAT MESH BACK
PPFRP Exhaust System & Accessories
A | PPFRP Exhaust | AR&D LAB PPFRP Exhaust
1 | PPFRP Exhaust | 3mm PP + 2mm FRP Ducting with Necessary Installation Hardware and reducers | 95 | Sq.Mtr | 2783 | 264385
1 | PPFRP Exhaust | 100 mm Dia Damper for Spot Extractors, Exhaust Storage Cabinets | 13 | No.s | 870 | 11310
1 | PPFRP Exhaust | 300 mm Dia PP Damper for Fume hoods | 4 | No.s | 2715 | 10860
1 | PPFRP Exhaust | 250 mm Dia Damper for Canopy Hoods | 2 | No.s | 1566 | 3132
1 | PPFRP Exhaust | 100 mm Dia Flexible Hose with Clamps for Spot Extractors, Exhaust Storage Cabinets | 26 | Mtrs | 495 | 12870
1 | PPFRP Exhaust | 300 mm Flexible Hose with Clamps For Fume Hoods | 8 | Mtrs | 1364 | 10912
1 | PPFRP Exhaust | 250 mm Dia Flexible Hose with Clamps for Canopy Hoods | 4 | Mtrs | 1108 | 4432
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * 1750 CFM | 1 | No's | 61922 | 61922
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * 2400 CFM | 1 | No's | 77924 | 77924
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * 960 CFM | 1 | No's | 50094 | 50094
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | Cluster 1: Scrubber Made of 3mm PP + 2mm FRP | 1 | No.s | 173938 | 173938
1 | PPFRP Exhaust | * 1750 CFM * Inlet & Outlet Nozzles, * Over Flow * Water Inlet * Water tube Level Indicator * Inspection Door * PP Pall Rings Packing * Mist Eliminator * Spray Nozzles * Recirculation Pump * Drain Port with Valve
1 | PPFRP Exhaust | Cluster 2: Scrubber Made of 3mm PP + 2mm FRP | 1 | No.s | 208725 | 208725
1 | PPFRP Exhaust | * 2400 CFM * Inlet & Outlet Nozzles, * Over Flow * Water Inlet * Water tube Level Indicator * Inspection Door * PP Pall Rings Packing * Mist Eliminator * Spray Nozzles * Recirculation Pump * Drain Port with Valve
1 | PPFRP Exhaust | R&D LAB PPFRP Exhaust
1 | PPFRP Exhaust | 3mm PP + 2mm FRP Ducting with Necessary Installation Hardware and reducers | 600 | Sq.Mtr | 2783 | 1669800
1 | PPFRP Exhaust | 100 mm Dia Damper for Spot Extractors, Exhaust Storage Cabinets | 28 | No.s | 870 | 24360
1 | PPFRP Exhaust | 300 mm Dia PP Damper for Fume hoods | 34 | No.s | 2715 | 92310
1 | PPFRP Exhaust | 100 mm Dia Flexible Hose with Clamps for Spot Extractors, Exhaust Storage Cabinets | 56 | Mtrs | 495 | 27720
1 | PPFRP Exhaust | 300 mm Flexible Hose with Clamps For Fume Hoods | 68 | Mtrs | 1364 | 92752
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * Cluster 1 & 2 : 5700 CFM | 2 | No's | 105754 | 211508
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * Clusters 3,4,5,6,7,8 : 3400 CFM | 6 | No's | 77924 | 467544
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | PP FRP Exhaust Blower
1 | PPFRP Exhaust | * Cluster 9 : 1100 CFM | 1 | No's | 50094 | 50094
1 | PPFRP Exhaust | * 6 inch WG Static pressure
1 | PPFRP Exhaust | * Centrifugal type with Non FLP Branded Motors
1 | PPFRP Exhaust | * FRP Impeller with vibration isolator
1 | PPFRP Exhaust | Cluster 1 & 2 : Scrubber Made of 3mm PP + 2mm FRP | 2 | No.s | 229598 | 459196
1 | PPFRP Exhaust | * 5700 CFM * Inlet & Outlet Nozzles, * Over Flow * Water Inlet * Water tube Level Indicator * Inspection Door * PP Pall Rings Packing * Mist Eliminator * Spray Nozzles * Recirculation Pump * Drain Port with Valve
1 | PPFRP Exhaust | Clusters 3,4,5,6,7,8 : Scrubber (Made of 3mm PP + 2mm FRP | 6 | No.s | 215683 | 1294098
1 | PPFRP Exhaust | * 3400 CFM * Inlet & Outlet Nozzles, * Over Flow * Water Inlet * Water tube Level Indicator * Inspection Door * PP Pall Rings Packing * Mist Eliminator * Spray Nozzles * Recirculation Pump * Drain Port with Valve
1 | PPFRP Exhaust | Cluster 9 : Scrubber (Made of 3mm PP + 2mm FRP | 1 | No.s | 168594 | 168594
1 | PPFRP Exhaust | * 1100 CFM * Inlet & Outlet Nozzles, * Over Flow * Water Inlet * Water tube Level Indicator * Inspection Door * PP Pall Rings Packing * Mist Eliminator * Spray Nozzles * Recirculation Pump * Drain Port with Valve
AR&D and R&D Lab GDS BOQ
I | GDS | GC - 8 No's
1 | GDS | 1/8" Gas Purification Panel for 4 gases ( H2,N2,Air & He ) | 2 | Set | 32331 | 64662
2 | GDS | 1/8" Gas Control Boxes for 4 gases ( H2,N2,Air & He ) | 8 | Set | 10881 | 87048
3 | GDS | Gas Selector Box for Nitrogen & Helium | 8 | Nos | 5031 | 40248
4 | GDS | 1/8" Online particle Filter | 8 | Nos | 1196 | 9568
5 | GDS | 1/8" Pretreated Tubing with Color Coated Sleevs | 600 | Mtrs | 82 | 49200
6 | GDS | 1/8" Nuts and Ferrules | 250 | Nos | 62 | 15500
7 | GDS | 1/8" T joint | 32 | Nos | 351 | 11232
8 | GDS | 1/8'' Regulator Adaptor | 8 | Nos | 351 | 2808
9 | GDS | Two stage Cylinders Regulator for 4 gases ( H2,N2,Air & He ) | 8 | Nos | 5031 | 40248
10 | GDS | Two Cylinder high pressure Manifolds for 4 gases ( H2,N2,Air & He ) | 8 | Nos | 5031 | 40248
11 | GDS | SS Braided High Pressure Pigtails for 4 gases ( H2,N2,Air & He ) | 16 | Nos | 1261 | 20176
12 | GDS | Cylinder Holding & Mounting Bracket | 16 | Nos | 611 | 9776
13 | GDS | Aluminium Powder Coated Casing | 120 | Feet | 160 | 19200
2 | GDS | For LCMS - 1 No's
1 | GDS | 1/4"OD to 1/8"OD Bulkhead | 1 | Nos | 351 | 351
2 | GDS | 1/8" Gas Purification Panel for Argon | 1 | Nos | 11409 | 11409
3 | GDS | 1/8" Online Particle Filter | 1 | Nos | 1131 | 1131
4 | GDS | 1/4" Regulator Adapters | 1 | Nos | 351 | 351
5 | GDS | Two Cylinder High Pressure Manifold for Argon | 1 | Nos | 5031 | 5031
6 | GDS | Two Stage Cylinder Regulator for Argon | 1 | Nos | 5031 | 5031
7 | GDS | SS Braided High Pressure Pigtails with Safety Rope | 2 | Nos | 1261 | 2522
8 | GDS | Cylinder Holding & Mounting Bracket with Chains | 2 | Nos | 611 | 1222
9 | GDS | 1/8" Gas Control Boxes 0- 2 kg | 1 | Nos | 4381 | 4381
10 | GDS | 1/8" SS Pre-treated Tubing with Colour Coated Sleeves | 50 | Mtr | 82 | 4100
11 | GDS | Aluminium Powder Coated Casing | 32 | Feet | 160 | 5120
4 | GDS | Compressed Air For Fume Hoods - 38 No's | 1 | Lot | 706800 | 706800
| GDS | 1/2", 3/8" & 1/4" OD SS 304 Pipe along with required L bends, Unions, Tee Joints, Reducing Tee Joints, Ball valves, Fittings with Nuts & Ferrules, Manifolds, Regulatos, Pig tails, Cylinder Holders, Required supporting Materials & Hard ware.
5 | GDS | Nitrogen Line For Fume Hoods - 38 No's | 1 | Lot | 706800 | 706800
| GDS | 1/2", 3/8" & 1/4" OD SS 304 Pipe along with required L bends, Unions, Tee Joints, Reducing Tee Joints, Ball valves, Fittings with Nuts & Ferrules, Manifolds, Regulatos, Pig tails, Cylinder Holders, Required supporting Materials & Hard ware.
6 | GDS | Vacuum Line For Fume Hoods - 38 No's | 1 | Lot | 1071600 | 1071600
| GDS | 2",1" & 3/8" NB SS 304 Pipe along with required L bends, Unions, Tee Joints, Reducing Tee Joints, Ball valves, Fittings with Nuts & Ferrules Required supporting Materials & Hard ware.
7 | GDS | Raw Water for Fume Hoods - 38 nos., Sinks - 25 nos. & Eye Washers - 23 nos. | 1 | Lot | 529200 | 529200
| GDS | 1 1/2", 1" & 1/2" CPVC Pipe along with required L bends, Unions, Tee Joints, Reducing Tee Joints, Ball valves, Fittings with Nuts & Ferrules Required supporting Materials & Hard ware.
8 | GDS | Structrural Support for Above Utility Lining | 1 | Lot | 224400 | 224400
| GDS | Anchor fatner for cealing support with nuts
| GDS | MS angular support for clamps
| GDS | PP Clamps for Pipe & Tube Support
| GDS | Studrods for celing supports
| GDS | Washers and check nuts for gas line support rods
Supply & Installation for Process Drainage System and Accessories
1 | Drainage System | Supply of HDPE Pipe Complete with necessary slope and fittings specials like flanges, end cap, bends, collar, Equal Tee, Reducing Tee, Y- type Tee, gaskets, bolts, nuts, washers, unions, heat welding,etc.The rate quoted shall include for necessary pipe clamps & supports (including required size of anchor fasteners type, Threaded Rods, " U " Clamp & Universal GI clamps with necessary bolts, washer and nuts etc.) to be considered for all sizes of every 1 mts distance.
a | Drainage System | 110 mm OD - HDPE pipes | 150 |  | 1680 | 252000
b | Drainage System | 75 mm OD - HDPE pipes | 120 |  | 1440 | 172800
c | Drainage System | 50 mm OD - HDPE pipes | 170 |  | 1068 | 181560
2 | Drainage System | Fume Hood Drain Connector (Including Stub end Flange and Threaded Flange) | 3 | Nos | 990 | 2970
3 | Drainage System | Sink Drain Connector (Including Stub end Flange and Threaded Flange) | 23 | Nos | 792 | 18216
4 | Drainage System | Matt finish) Double Sealwith Bottom Discharge Drain Trap. Confirming to Pharamceutical Grade. Drain trap fabricated with 1.6mm sheet, consist of 1 Nos Perforated plate, Removable 2 Nos Seal with sislicon Gasket, Covering Lid of 2mm Thick to be provided for Drain trap. Installtion included Core cutting In slab, Sealing of Core cut Gap with Water proofing element. Size : Drain Trapas per site conditions with Outlet size 50 mm | 8 |  | 9900 | 79200
TAXBLE AMOUNT | [5 empty] | 28000000
GST-18% | [5 empty] | 5040000
TOTAL AMOUNT | [5 empty] | 33040000